## Data oct252016_
OPEN 6.3.2
Thr Oct 27 2016 14:00:07
Unit= | PSC-2797
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LED2x3led.xml
Remark= | elm
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
Remark= | "14:02:08 Flow: Fixed -> 400 umol/s"
Remark= | "14:02:57 Lamp: ParIn -> 1500 uml"
Remark= | "14:04:23 CO2 Mixer: CO2R -> 410 uml"
Remark= | "14:06:09 Flow: Fixed -> 400 umol/s"
1 | 14:09:46 | 633 | 0 | 8.3434 | 0.11914 | 272.4477 | 2.3534 | 2.0152 | 26.3723 | 6 | 1.42 | 1 | 2.84 | 25.396 | 26.3723 | 25.2292 | 413.4633 | 399.5174 | 10.8057 | 14.2904 | 33.3102 | 44.0524 | 399.4124 | 1498.5068 | 0.22179 | 100.3567 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111125 | 0.66569 | 0.0023534 | 299.5223 | 298.546 | 239.7611 | 1.4749 | 3.4493 | 34.3705 | 20.0802 | 25.8841 | 3.3512 | 0.11435 | 1.4341 | 1.9171 | 0.071883 | 27.342 | 0.68194 | 42.5314 | 395.5513 | 0.0089712
2 | 14:11:49 | 756 | 0 | 6.8032 | 0.096791 | 272.0431 | 1.9388 | 2.0268 | 26.7359 | 6 | 1.42 | 1 | 2.84 | 25.7178 | 26.7359 | 25.5676 | 412.9728 | 398.8497 | 11.3581 | 14.9183 | 34.3512 | 45.1187 | 321.8747 | 1499.0403 | 0.15857 | 100.3587 | 99.6383 | 1.9616 | 0 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.53646 | 0.0019388 | 299.8859 | 298.8678 | 239.8464 | 1.6851 | 3.524 | 35.1141 | 20.1958 | 26.2268 | 3.4198 | 0.093601 | 1.4972 | 1.9226 | 0.058779 | 27.3019 | 0.68207 | 42.9538 | 395.6158 | 0.0073865
3 | 14:14:31 | 918.5 | 0 | 9.0638 | 0.11249 | 251.6735 | 2.2127 | 2.0001 | 26.8896 | 6 | 1.42 | 1 | 2.84 | 26.0067 | 26.8896 | 25.8609 | 414.3607 | 395.5009 | 11.3692 | 15.5028 | 33.8019 | 46.0917 | 316.1972 | 1499.5806 | 0.1676 | 100.3608 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.527 | 0.0022127 | 300.0396 | 299.1567 | 239.9329 | 1.5612 | 3.556 | 35.4324 | 19.9296 | 26.4482 | 3.4648 | 0.1082 | 1.5559 | 1.9089 | 0.067997 | 25.2581 | 0.63634 | 44.4823 | 391.1924 | 0.010306
4 | 14:16:55 | 1062.5 | 0 | 7.3779 | 0.090491 | 253.9864 | 1.9195 | 2.1403 | 27.2946 | 6 | 1.42 | 1 | 2.84 | 26.1787 | 27.2946 | 26.0402 | 414.7172 | 399.3867 | 11.4001 | 14.9591 | 33.5496 | 44.0235 | 318.758 | 1498.8395 | 0.020072 | 100.357 | 99.6383 | 1.9616 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.53126 | 0.0019195 | 300.4446 | 299.3287 | 239.8143 | 1.6793 | 3.6416 | 36.286 | 21.3269 | 26.7367 | 3.5242 | 0.087697 | 1.5013 | 2.0229 | 0.055055 | 25.4893 | 0.63594 | 41.5427 | 395.8795 | 0.0077422
5 | 14:19:26 | 1213 | 0 | 5.9973 | 0.058848 | 224.4289 | 1.4112 | 2.3926 | 28.0333 | 6 | 1.42 | 1 | 2.84 | 26.376 | 28.0333 | 26.2433 | 414.8992 | 402.6222 | 11.4446 | 14.0463 | 33.2901 | 40.858 | 320.8671 | 1498.6206 | 0.10538 | 100.3558 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.53478 | 0.0014112 | 301.1833 | 299.526 | 239.7793 | 1.8664 | 3.8022 | 37.8873 | 23.841 | 27.2047 | 3.6224 | 0.057654 | 1.4096 | 2.2128 | 0.036139 | 22.5227 | 0.55742 | 36.7079 | 399.7714 | 0.0055068
Remark= | "14:22:03 maple"
6 | 14:23:23 | 1450.5 | 0 | 2.4561 | 0.01922 | 196.2104 | 0.45471 | 2.333 | 26.9946 | 6 | 1.42 | 1 | 2.84 | 26.4906 | 26.9946 | 26.3783 | 418.3318 | 413.468 | 11.5796 | 12.4056 | 33.4578 | 35.8445 | 326.1856 | 1499.4407 | 0.040145 | 100.3613 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.54364 | 0.00045471 | 300.1446 | 299.6406 | 239.9105 | 2.5284 | 3.578 | 35.6515 | 23.2458 | 26.7426 | 3.5254 | 0.019091 | 1.245 | 2.2804 | 0.011943 | 19.6919 | 0.47455 | 33.6407 | 412.3005 | 0.002004
7 | 14:25:47 | 1594.5 | 0 | 2.7893 | 0.018413 | 157.7708 | 0.45846 | 2.4532 | 27.5505 | 6 | 1.42 | 1 | 2.84 | 26.6946 | 27.5505 | 26.5756 | 418.369 | 412.9256 | 11.5614 | 12.3888 | 33.0062 | 35.3685 | 328.3184 | 1499.6909 | 0.029104 | 100.3618 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.5472 | 0.00045846 | 300.7005 | 299.8446 | 239.9505 | 2.4762 | 3.6965 | 36.832 | 24.4432 | 27.1225 | 3.605 | 0.018295 | 1.2434 | 2.3616 | 0.011445 | 15.8342 | 0.38208 | 32.3998 | 411.5996 | 0.0021957
8 | 14:28:18 | 1745.5 | 0 | 2.5344 | 0.016041 | 148.5326 | 0.39348 | 2.4155 | 27.3477 | 6 | 1.42 | 1 | 2.84 | 26.7325 | 27.3477 | 26.6297 | 418.5313 | 413.6365 | 11.6239 | 12.3292 | 33.1114 | 35.1204 | 330.6146 | 1499.1215 | 0.24588 | 100.364 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.55102 | 0.00039348 | 300.4977 | 299.8825 | 239.8594 | 2.5429 | 3.6529 | 36.3966 | 24.0675 | 27.0401 | 3.5876 | 0.015951 | 1.2374 | 2.3502 | 0.0099773 | 14.9073 | 0.35909 | 32.6039 | 412.4317 | 0.0020035
9 | 14:29:54 | 1842 | 0 | 3.0102 | 0.01951 | 153.6607 | 0.48361 | 2.443 | 27.5627 | 6 | 1.42 | 1 | 2.84 | 26.7927 | 27.5627 | 26.6954 | 419.0927 | 413.2831 | 11.6518 | 12.5161 | 33.073 | 35.5263 | 331.525 | 1499.3285 | 0.52188 | 100.3621 | 99.6383 | 1.9616 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.55254 | 0.00048361 | 300.7127 | 299.9427 | 239.8926 | 2.4742 | 3.6992 | 36.8582 | 24.3421 | 27.1777 | 3.6167 | 0.019377 | 1.2561 | 2.3605 | 0.012122 | 15.4217 | 0.3718 | 32.7478 | 411.8522 | 0.0023935
10 | 14:31:28 | 1936 | 0 | 3.168 | 0.019193 | 136.1683 | 0.47554 | 2.4416 | 27.5718 | 6 | 1.42 | 1 | 2.84 | 26.8865 | 27.5718 | 26.7902 | 418.8093 | 412.7373 | 11.7031 | 12.5506 | 33.0355 | 35.4278 | 332.4401 | 1499.5334 | 0.18868 | 100.3608 | 99.6383 | 1.9616 | 0.66667 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 112225 | 0.55407 | 0.00047554 | 300.7218 | 300.0365 | 239.9253 | 2.4903 | 3.7011 | 36.8784 | 24.3278 | 27.2292 | 3.6276 | 0.019064 | 1.2596 | 2.368 | 0.011927 | 13.666 | 0.32992 | 32.8148 | 411.2314 | 0.002528

## Rawdata
OPEN 6.3.2
Tue Oct 25 2016 14:42:27
Unit= | PSC-2797
LightSource= | 6400-02 or -02B LED Source | 1 | 0.16
A/D AvgTime= | 4
Config= | /User/Configs/UserPrefs/LED2x3led.xml
Remark=
Obs | HHMMSS | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 14:42:33 | 12 | 0 | 23.1757 | 0.015149 | -2004.9705 | 0.56151 | 3.6523 | 30.5482 | 6 | 1.42 | 1 | 2.84 | 28.2093 | 30.5482 | 28.0987 | 441.5528 | 406.3917 | 6.5616 | 7.3989 | 17.1805 | 19.373 | 399.3712 | 1500.7872 | 0.25892 | 100.5811 | 70.5674 | 2.054 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111125 | 0.66562 | 0.00056151 | 303.6982 | 301.3593 | 240.126 | 2.2038 | 4.3965 | 43.7106 | 36.3117 | 29.3787 | 4.1108 | 0.015068 | 0.74419 | 3.3666 | 0.0094249 | -201.6621 | -4.9336 | 15.2008 | 395.3751 | 0.0089102
Remark= | "14:43:05 Flow: Fixed -> 400 umol/s"
Remark= | "14:43:26 leaf 2"
2 | 14:45:06 | 164 | 0 | 25.2018 | 0.025189 | -1190.326 | 0.91889 | 3.6055 | 30.6074 | 6 | 1.42 | 1 | 2.84 | 28.5447 | 30.6074 | 28.4416 | 437.7084 | 399.3816 | 6.646 | 8.0123 | 17.0647 | 20.5731 | 400.2759 | 1498.8075 | 0.5891 | 100.5766 | 70.5674 | 2.054 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111125 | 0.66713 | 0.00091889 | 303.7574 | 301.6947 | 239.8092 | 2.0528 | 4.4114 | 43.8609 | 35.8486 | 29.5761 | 4.1578 | 0.024968 | 0.80585 | 3.352 | 0.015625 | -119.7189 | -2.9804 | 16.8289 | 387.4018 | 0.010948
Remark= | "14:47:11 leaf 3"
3 | 14:47:12 | 290 | 0 | 24.3149 | 0.017967 | -1735.4018 | 0.67774 | 3.7178 | 30.9245 | 6 | 1.42 | 1 | 2.84 | 28.7571 | 30.9245 | 28.6517 | 437.9807 | 401.1281 | 6.6897 | 7.6978 | 16.9663 | 19.5228 | 400.2984 | 1499.1737 | 178.4429 | 100.5741 | 70.5674 | 2.054 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111125 | 0.66716 | 0.00067774 | 304.0745 | 301.9071 | 239.8678 | 2.1621 | 4.492 | 44.6636 | 36.9658 | 29.8408 | 4.2216 | 0.017854 | 0.77419 | 3.4475 | 0.011169 | -174.5365 | -4.3263 | 15.5442 | 389.5699 | 0.0097018
Remark= | "14:47:38 "
Remark= | "14:47:48 leaf 4"
4 | 14:48:57 | 394.5 | 0 | 24.2413 | 0.016697 | -1889.1238 | 0.62383 | 3.6816 | 30.7591 | 6 | 1.42 | 1 | 2.84 | 28.9006 | 30.7591 | 28.8036 | 437.4887 | 400.7811 | 6.7106 | 7.6385 | 16.8779 | 19.2116 | 400.3195 | 1499.1151 | 0.44157 | 100.5712 | 70.5674 | 2.054 | 1 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111125 | 0.6672 | 0.00062383 | 303.9091 | 302.0506 | 239.8584 | 2.234 | 4.4498 | 44.245 | 36.6065 | 29.8298 | 4.219 | 0.0166 | 0.76821 | 3.4508 | 0.010383 | -189.9914 | -4.7136 | 15.5571 | 389.2579 | 0.0096883
Remark= | "14:50:33 leaf 5"
5 | 14:50:35 | 493 | 0 | 25.9488 | 0.027964 | -1079.8797 | 1.0065 | 3.5609 | 30.5216 | 6 | 1.42 | 1 | 2.84 | 28.9371 | 30.5216 | 28.8663 | 437.0253 | 397.5265 | 6.7443 | 8.2407 | 16.9281 | 20.684 | 400.2493 | 1499.7565 | 0.70753 | 100.579 | 70.5674 | 2.054 | 0.33333 | -0.21957 | 2.7374 | 1 | 0 | 0.16 | 111125 | 0.66708 | 0.0010065 | 303.6716 | 302.0871 | 239.961 | 2.0763 | 4.3898 | 43.645 | 35.4043 | 29.7294 | 4.1947 | 0.027691 | 0.82884 | 3.3658 | 0.017331 | -108.6132 | -2.7165 | 17.5327 | 385.1917 | 0.011811

## Data4ANOVA
|  |  |  | Elm | Maple | Ilexx | Elm | Maple | Ilexx
Plant species | Leaf | Photosynthesis (micro mol CO2 m-2s-1) | Transpiration (mol water m-2s-1) | 8.3434 | 2.4561 | 23.1757 | 2.3534 | 0.45471 | 0.56151
Elm | 1 | 8.3434 | 2.3534 | 6.8032 | 2.7893 | 25.2018 | 1.9388 | 0.45846 | 0.91889
| 2 | 6.8032 | 1.9388 | 9.0638 | 2.5344 | 24.3149 | 2.2127 | 0.39348 | 0.67774
| 3 | 9.0638 | 2.2127 | 7.3779 | 3.0102 | 24.2413 | 1.9195 | 0.48361 | 0.62383
| 4 | 7.3779 | 1.9195 | 5.9973 | 3.168 | 25.9488 | 1.4112 | 0.47554 | 1.0065
| 5 | 5.9973 | 1.4112
Leaf
Maple | 6 | 2.4561 | 0.45471
| 7 | 2.7893 | 0.45846
| 8 | 2.5344 | 0.39348
| 9 | 3.0102 | 0.48361
| 10 | 3.168 | 0.47554
Leaf
Ilex | 1 | 23.1757 | 0.56151
| 2 | 25.2018 | 0.91889
| 3 | 24.3149 | 0.67774
| 4 | 24.2413 | 0.62383
| 5 | 25.9488 | 1.0065

## ANOVA_Photo
Anova: Single Factor
Photosynthesis
SUMMARY
Groups | Count | Sum | Average | Variance
Elm | 5 | 37.5857 | 7.5171 | 1.4785
Maple | 5 | 13.9581 | 2.7916 | 0.09203
Ilexx | 5 | 122.8825 | 24.5765 | 1.1044
ANOVA
Source of Variation | SS | df | MS | F | P-value | F crit
Between Groups | 1313.2222 | 2 | 656.6111 | 736.4106 | 2.7864e-13 | 3.8853
Within Groups | 10.6996 | 12 | 0.89164
Total | 1323.9218 | 14

## ANOVA_Transpiration
Anova: Single Factor
Transpiration
SUMMARY
Groups | Count | Sum | Average | Variance
Elm | 5 | 9.8356 | 1.9671 | 0.13041
Maple | 5 | 2.2658 | 0.45316 | 0.001255
Ilexx | 5 | 3.7885 | 0.75769 | 0.037673
ANOVA
Source of Variation | SS | df | MS | F | P-value | F crit
Between Groups | 6.4125 | 2 | 3.2062 | 56.8011 | 7.6051e-07 | 3.8853
Within Groups | 0.67736 | 12 | 0.056447
Total | 7.0899 | 14