Addendum	No. 02

PROJECT:  	Tennessee State University

SSC Concrete Repair & Replacement

## Nashville, Tennessee

DATE:  	05.3.12

This addendum forms a part of the contract Documents and, as noted below, modifies the original Project Manual dated 04.26.12

Clarifications : Thickness of concrete slab @ porch is 4”

Provide a unit cost for crushed stone for porch in base bid.

Specifications:

ATTACHMENTS:

END OF ADDENDUM NO. 02